HIPOC

# Teleconference Meeting – Minutes

# Wednesday, March 30th, 2011 – (12:00 – 2:00pm EST)

Toll-free:		+1-8773202367
Participant Code:	          6870884

- CALL TO ORDER – 12:00pm, Chair

- ROLL CALL ESTABLISHMENT OF A QUORUM

| # | Panelists |  | Present | Category |
| --- | --- | --- | --- | --- |
| 1 | Robert Boyd/Tom Joseph | bob.boyd@linde.com Alt. – bh2i@ptd.net | Y/y | Industrial Gas & Chemical |
| 2 | Iby George/Bob Davidson | ibygeorge@co.clarke.ga.us Alt. – rjd@davidsoncodeconcepts.com | Y/y | Code Enforcement |
| 3 | Marty Gresho/Scott Heyworth | marty@fp2fire.com Alt. – scott@fp2fire.com | N/n | NFPA 2 |
| 4 | Brian Ladds/Andrea Zajac | Brian.Ladds@calgary.ca Alt. –zajacanma@msn.com | Y/n | Code Enforcement |
| 5 | Greg Milewski | Gregory.Milewski@shell.com Alt. – t.b.d. | Y/ | Energy Company |
| 6 | Charles Henrici/Mike St. Clair | cbhenrici@juno.com Alt. – St-clair.1@osu.edu | N/n | NFPA 55 |
| 7 | John F. Mueller/Mark Mallick | John.Mueller@dos.state.ny.us Alt. – Mark.mallick@dos.state.ny.us | Y/n | Code Enforcement |
| 8 | Nancy Pehrson/Dave Farese | nancy.pehrson@centerpointenergy.com Alt. – FARESEDJ@airproducts.com | N/n | NFPA 52 |
| 9 | Mark Richards/Aaron Harris | Mark.Richards@versa-power.com Alt. – aharris@nuvera.com | N/y | Fuel Cell Industry |
| 10 | Bill Houf/Isaac Ekoto | will@sandia.gov Alt. – iekoco@sandia.gov | Y/y | Academic/Research |
| 11 | Glenn Scheffler/Mike Steele | GWSSol@aol.com Alt. - msteele308@gmail.com | N/n | Fuel Cell Hydrogen Vehicles |
|  |  | Quorum? | Y |  |
|  | Guests |  |  |  |
|  | Jeff LaChance Karen Hall |  | N Y | Sandia FCHEA |
|  | Staff |  |  |  |
|  | Chad Blake | chad.blake@nrel.gov | Y | NREL |
|  | Paul May | pmay@nfpa.org | N | NFPA |
|  | Bruce Johnson Justin Wiley | bejohnson@iccsafe.org jwiley@iccsafe.org | N/y | ICC |

- REVIEW, AMEND, APPROVE AGENDA

- APPROVAL OF MINUTES

  - The March 9 minutes were approved as written.

- ADMINISTRATIVE ISSUES

  - Antonio has received letter requesting funding for code enforcer travel to in-person meetings.  He is evaluating the request and will provide a formal response.

- OLD BUSINESS

  - Report from NFPA

    - NFPA 2 will meet for a Pre-ROP at NFPA on April 26.

      - Indoor refueling task group will be created after the results of the NFPA 52 scope is made known.

    - NFPA 52 will be meeting at NFPA from August 1-5 for the ROP.

    - CGA will be submitting detailed code changes to remove all H2 language from 52, and the 52 extract content in 2 will become part of NFPA-2

  - Report from ICC

    - 2012 I-Codes will be made available in May.

    - Committee applications to join are available here:

      - http://www.iccsafe.org/cc/Pages/2011Call.aspx

    - Proposals for the A cycle documents (includes IBC) are due 1/1/2012.

    - Proposals for the B cycle documents (includes IFC) are due 1/1/2013.

    - The “work groups” (formerly Regional Code Action Committees) will be set up to hear/develop proposed changes at a regional level.  This work will occur 4-6 months in advance of the deadlines.

    - The proposed changes for 2011 IGCC International Green Construction Code is published with about 12 hydrogen references.  Bob Davidson has taken a look at the changes and feels most of the references are general in nature.

Here is the link to the IGCC code change proposals:

http://media.iccsafe.org/IGCC/docs/2011-ProposedChanges-IGCC.pdf

  - Industry Update

    - Sandia tank testing – one steel tank has failed.  It occurred around 8000 cycles. This was one of the tanks with a machined flaw (expected early failure).  Expect more details in presentation at Annual Merit Review.

  - Working Group - Fork Lift Fueling Indoors (see archive notes at end)

    - HIPOC worked through items previously discussed to compose rationale for code language.

    - The working group on indoor fueling will develop code language before the next HIPOC meeting and present it for support.

      - Supported items will be noted and proposed.

      - Unsupported items will be left to individual proponents to submit proposals

  - HIPOC Long Term Schedule

    - 2012 Codes available in May 2011.

    - Will all of the various areas of the IBC, IMC and IFGC be scoped to the IFC?  - Are hydrogen related issues going to the fire code committee and if so then when will the proposals be due?  Hydrogen is particularly concerned as past revisions the hydrogen issues were in conflict between IFGC and IFC (for example).

    - If it is all being scoped to the IFC, we should still plan to look through all of the proposals to the Group A codes to understand what could happen from a “multi-part” code change.  Hydrogen items or items that affect hydrogen use could be submitted in Jan.

  - Action Item Update

    - ICC - Justin to determine the ‘scoping issue’ for Group A and Group B codes.

    - Onsite Generators - Siting requirements for onsite hydrogen generators need revision.  Confusion and lack of specific language causes unnecessary requirements.

      - Today electrolyzers are sometimes incorrectly being required to be installed with bulk storage separation distance requirements.  When listed and Labeled,  hydrogen generators are exempt from hydrogen storage separation distances, except when there is hydrogen storage contained in the generator system.

      - Need language for IFC.

      - Need update for NFPA 2.

    - Pass list of changes for NFPA 52 (developed in the past few months) along to NFPA 2 for consideration

    - HIPOC PR - Wider dissemination on the existence of HIPOC and its work to provide for code harmonization, aiming to encourage industry to provide input to the HIPOC earlier.

- NEW BUSINESS

  - New Action Items

    - Bob D, Bob B and Aaron to work on matrix/schedule structure for tracking.

    - Create list of gaps and issues in ICC and NFPA 2.

      - Topic – i.e. Generator or electrolyzers

        - List all areas where various codes reference

        - Identify conflicts and gaps

        - Recommend code change proposal ideas for groups like NFPA working groups, CGA, etc.

    - Determine how to best use the time for conf calls.  Suggestion to use email and ad-hoc groups to work on specific proposals then ask for consensus on calls.

  - No Administration Topics

- SIGNIFICANT DATES

  - NFPA 2 – Expected publication date: April 1, 2011.  Pre ROP meeting at NFPA Headquarters is April 26th, 2011

  - NFPA 55 – ROC meeting date:??

  - NFPA 52 – Proposal closing date: May 23, 2011, ROP Meeting week of August 1st, 2011

  - IFC 2015 Edition Proposal Closing Date:  ??

- NEXT MEETING(S)

  - Next Web Meeting:

    - Wednesday, April 27th from 12:00-2:00PM ET (11:00AM-1:00PM CT; 10:00AM-12:00PM MT; 9:00-11:00AM PT).

    - Group tentatively agreed to meet on the 4th Wednesday of each month.

  - Next In Person:

- ADJOURNMENT

  - The meeting was adjourned at 13:42 ET.